## Sheet1
Turbine | Links | check | Rated power: | Cutin wind speed: | Rated wind speed: | Diameter: | Number of blades: | Hub height: | Cutout wind speed: | Gesamtinvestitionskosten | Betriebskosten | max Flauten time | Battery Capacity | number of batteries | battery cost | LCOE | Flautenzeit
ACSA A27/225 | https://en.wind-turbine-models.com/turbines/817-acsa-a27-225 | 1 | 225 | 3.5 | 13.5 | 27.0 m | 3 | 30 | 25 | 247231490079 | 20250 |  | 0 | 0 | 0 | 67851.14
ACSA A29/225 | https://en.wind-turbine-models.com/turbines/2376-acsa-a29-225 | 1 | 225 | 4 | 13 | 29.0 m | 3 | 50 | 25 | 247231490079 | 20250 |  | 0 | 0 | 0 | 62175.92
AWP A/S AWP 90/18 | https://en.wind-turbine-models.com/turbines/1870-awp-a-s-awp-90-18 | 1 | 90 | 4 | 13 | 18.6 m | 3 | 30 | 25 | 247230882579 | 8100 |  | 0 | 0 | 0 | 195079.25
AWP A/S AWP 200/23 | https://en.wind-turbine-models.com/turbines/1872-awp-a-s-awp-200-23 | 1 | 200 | 4 | 13 | 23.0 m | 3 | 30 | 25 | 247231377579 | 18000 |  | 0 | 0 | 0 | 102706.4
Aeolia Windtech D2CF 200 | https://en.wind-turbine-models.com/turbines/1829-aeolia-windtech-d2cf-200 | 1 | 200 | 3 | 10.9 | 28.0 m | 3 | 40.3 | 20 | 247231377579 | 18000 |  | 0 | 0 | 0 | 57053.51
AERODAN 75/15 | https://en.wind-turbine-models.com/turbines/1378-aerodan-75-15 | 1 | 75 | 5 | 12 | 17.0 m | 3 | 23 | 23 | 247230815079 | 6750 |  | 0 | 0 | 0 | 242609.38
AN Bonus 150/30 | https://en.wind-turbine-models.com/turbines/124-an-bonus-150-30 | 1 | 150 | 3.5 | 12.5 | 23.0 m | 3 | 40 | 25 | 247231152579 | 13500 |  | 0 | 0 | 0 | 98756.08
Hummer H8.16-10KW | https://en.wind-turbine-models.com/turbines/1689-hummer-h8.16-10kw | 1 | 10 | 3 | 11 | 8.2 m | 3 | 18 | 25 | 247230522579 | 900 |  | 0 | 0 | 0 | 1329396.78
Hummer H13.2-20KW | https://en.wind-turbine-models.com/turbines/1688-hummer-h13.2-20kw | 1 | 20 | 3 | 9 | 13.2 m | 3 | 20 | 25 | 247230567579 | 1800 |  | 0 | 0 | 0 | 404229.33
Hummer H13.2-30KW | https://en.wind-turbine-models.com/turbines/1687-hummer-h13.2-30kw | 1 | 30 | 3 | 10 | 13.2 m | 3 | 30 | 25 | 247230612579 | 2700 |  | 0 | 0 | 0 | 312484.72
Hummer H17.0-50KW | https://en.wind-turbine-models.com/turbines/1686-hummer-h17.0-50kw | 1 | 50 | 3.5 | 9.5 | 17.0 m | 3 | 40 | 20 | 247230702579 | 4500 |  | 0 | 0 | 0 | 177669.83
Hummer H21.0-60KW | https://en.wind-turbine-models.com/turbines/1685-hummer-h21.0-60kw | 1 | 60 | 2.5 | 9 | 21.0 m | 3 | 50 | 25 | 247230747579 | 5400 |  | 0 | 0 | 0 | 128991.13
Hummer H21.0-100KW | https://en.wind-turbine-models.com/turbines/1684-hummer-h21.0-100kw | 1 | 100 | 2.5 | 10.5 | 21.0 m | 3 | 60 | 20 | 247230927579 | 9000 |  | 0 | 0 | 0 | 93775.35
Hummer H25.0-60KW | https://en.wind-turbine-models.com/turbines/1683-hummer-h25.0-60kw | 1 | 60 | 2.5 | 7.5 | 25.0 m | 3 | 50 | 20 | 247230747579 | 5400 |  | 0 | 0 | 0 | 105034.72
Hummer H25.0-100KW | https://en.wind-turbine-models.com/turbines/1682-hummer-h25.0-100kw | 1 | 100 | 2.5 | 10 | 25.0 m | 3 | 30 | 20 | 247230927579 | 9000 |  | 0 | 0 | 0 | 83403.53
Hummer H25.0-200KW | https://en.wind-turbine-models.com/turbines/1681-hummer-h25.0-200kw | 1 | 200 | 2.5 | 11.5 | 25.0 m | 3 | 30 | 20 | 247231377579 | 18000 |  | 0 | 0 | 0 | 55318.57
Aria Libellula 20 | https://en.wind-turbine-models.com/turbines/1635-aria-libellula-20 | 1 | 20 | 3 | 10 | 17.4 m | 2 | 20 | 25 | 247230567579 | 1800 |  | 0 | 0 | 0 | 471542.71
Aria Libellula 55+ | https://en.wind-turbine-models.com/turbines/1634-aria-libellula-55 | 1 | 57 | 3 | 11 | 19.0 m | 2 | 31 | 25 | 247230734079 | 5130 |  | 0 | 0 | 0 | 229483.17
Aria Libellula 60i | https://en.wind-turbine-models.com/turbines/1633-aria-libellula-60i | 1 | 60 | 3 | 11 | 19.0 m | 2 | 31 | 25 | 247230747579 | 5400 |  | 0 | 0 | 0 | 192064.75
ATB Riva Calzoni ATB 60.28 DD | https://en.wind-turbine-models.com/turbines/1534-atb-riva-calzoni-atb-60.28-dd | 1 | 60 | 3 | 7.5 | 28.0 m | 2 | 37 | 19 | 247230747579 | 5400 |  | 0 | 0 | 0 | 136221.26
Aventa AV-7 | https://en.wind-turbine-models.com/turbines/1529-aventa-av-7 | 1 | 6.2 | 2 | 6 | 12.8 m | 3 | 18 | 14 | 247230505479 | 558 |  | 0 | 0 | 0 | 926893.35
b.ventus 250 kW | https://en.wind-turbine-models.com/turbines/2061-b.ventus-250-kw | 1 | 250 | 2.5 | 9 | 42.5 m | 3 | 28 | 32 | 247231602579 | 22500 |  | 0 | 0 | 0 | 40853.11
Bergey BWC Excel 10 | https://en.wind-turbine-models.com/turbines/501-bergey-bwc-excel-10 | 1 | 10 | 3.4 | 15.6 | 7.0 m | 3 | 30 | 60 | 247230522579 | 900 |  | 0 | 0 | 0 | 1849290.52
Bonus B23/150 Gittermast | https://en.wind-turbine-models.com/turbines/189-bonus-b23-150-gittermast | 1 | 150 | 3.5 | 12.5 | 23.0 m | 3 | 40 | 25 | 247231152579 | 13500 |  | 0 | 0 | 0 | 107485.19
Cannon 26/250 | https://en.wind-turbine-models.com/turbines/1352-cannon-26-250 | 1 | 250 | 4.8 |  | 26.0 m | 3 | 42.7 | 28.9 | 247231602579 | 22500 |  | 0 | 0 | 0 | 95796.83
DWP D75/15 | https://en.wind-turbine-models.com/turbines/1387-dwp-d75-15 | 1 | 75 | 4 | 18 | 15.3 m | 3 | 24 | 30 | 247230815079 | 6750 |  | 0 | 0 | 0 | 308979.06
DWP D110/19 | https://en.wind-turbine-models.com/turbines/1388-dwp-d110-19 | 1 | 110 | 4 | 18 | 19.2 m | 3 | 24 | 30 | 247230972579 | 9900 |  | 0 | 0 | 0 | 143641.97
DWT Danish Wind Tech Windane 10 | https://en.wind-turbine-models.com/turbines/1390-dwt-danish-wind-tech-windane-10 | 1 | 18.5 | 4.5 | 14 | 9.6 m | 2 | 18.6 | 30 | 247230560829 | 1665 |  | 0 | 0 | 0 | 971409.79
DANREGN Bonus 22 | https://en.wind-turbine-models.com/turbines/2364-danregn-bonus-22 | 1 | 22 | 3 | 13 | 10.0 m | 3 | 24 | 28 | 247230576579 | 1980 |  | 0 | 0 | 0 | 831923.94
DANREGN Bonus 30 | https://en.wind-turbine-models.com/turbines/185-danregn-bonus-30 | 1 | 30 | 4 | 18 | 11.0 m | 3 | 24 | 25 | 247230612579 | 2700 |  | 0 | 0 | 0 | 623832.12
DANREGN Bonus 55 | https://en.wind-turbine-models.com/turbines/184-danregn-bonus-55 | 1 | 55 | 3 | 13 | 16.2 m | 3 | 24 | 28 | 247230725079 | 4950 |  | 0 | 0 | 0 | 242831.86
DANREGN Bonus 95 | https://en.wind-turbine-models.com/turbines/186-danregn-bonus-95 | 1 | 95 | 3 | 13 | 19.4 m | 3 | 24.5 | 28 | 247230905079 | 8550 |  | 0 | 0 | 0 | 154085.5
DANREGN Bonus 100 | https://en.wind-turbine-models.com/turbines/2363-danregn-bonus-100 | 1 | 100 | 3 | 12 | 19.4 m | 3 | 24.5 | 28 | 247230927579 | 9000 |  | 0 | 0 | 0 | 151290.69
Enercon E-16 | https://en.wind-turbine-models.com/turbines/605-enercon-e-16 | 1 | 55 | 3 | 12 | 16.2 m | 3 | 28.5 | 25 | 247230725079 | 4950 |  | 0 | 0 | 0 | 209848.53
Enercon E-17 | https://en.wind-turbine-models.com/turbines/320-enercon-e-17 | 1 | 80 | 2.5 | 13 | 17.2 m | 3 | 30.5 | 25 | 247230837579 | 7200 |  | 0 | 0 | 0 | 158791.44
Greenstorm GS 21 S | https://en.wind-turbine-models.com/turbines/1675-greenstorm-gs-21-s | 1 | 60 | 3 | 8.8 | 22.3 m | 3 | 36 | 25 | 247230747579 | 5400 |  | 0 | 0 | 0 | 172214.57
WEG AGW 100 | https://en.wind-turbine-models.com/turbines/1698-weg-agw-100 | 1 | 95 | 3 | 12 | 24.4 m | 3 | 37 | 25 | 247230905079 | 8550 |  | 0 | 0 | 0 | 120534.02
Iskra AT5-1 | https://en.wind-turbine-models.com/turbines/2053-iskra-at5-1 | 1 | 5 | 2.5 | 12 | 5.4 m | 3 | 15 | 60 | 247230500079 | 450 |  | 0 | 0 | 0 | 2382561.22
Jacobs Wind Electric 31-20 | https://en.wind-turbine-models.com/turbines/537-jacobs-wind-electric-31-20 | 1 | 20 | 3.5 |  | 9.5 m | 3 | 48.5 | 30 | 247230567579 | 1800 |  | 0 | 0 | 0 | 904424.36
Krogmann 15-50 | https://en.wind-turbine-models.com/turbines/324-krogmann-15-50 | 1 | 50 | 2.5 | 14 | 15.0 m | 3 | 37 | 25 | 247230702579 | 4500 |  | 0 | 0 | 0 | 290185.35
Kuriant KE 18/4EH | https://en.wind-turbine-models.com/turbines/679-kuriant-ke-18-4eh | 1 | 18 | 3.5 | 23 | 10.9 m | 3 | 20 | 25 | 247230558579 | 1620 |  | 0 | 0 | 0 | 915234.06
Leitwind LTW42 250 | https://en.wind-turbine-models.com/turbines/1816-leitwind-ltw42-250 | 1 | 250 | 3 | 9 | 42.0 m | 3 | 19.47 | 25 | 247231602579 | 22500 |  | 0 | 0 | 0 | 40243.13
MAN Aeroman 11/11 | https://en.wind-turbine-models.com/turbines/1412-man-aeroman-11-11 | 1 | 11 | 3.8 | 8.5 | 11.6 m | 2 | 10 | 24 | 247230527079 | 990 |  | 0 | 0 | 0 | 1005151.6
Nordex N27/150 | https://en.wind-turbine-models.com/turbines/24-nordex-n27-150 | 1 | 150 | 3 | 15.5 | 27.0 m | 3 | 50 | 25 | 247231152579 | 13500 |  | 0 | 0 | 0 | 93494.93
Nordex N27/250 | https://en.wind-turbine-models.com/turbines/1089-nordex-n27-250 | 1 | 250 | 3 | 15.5 | 27.0 m | 3 | 50 | 25 | 247231602579 | 22500 |  | 0 | 0 | 0 | 95991.18
Nordex N29 | https://en.wind-turbine-models.com/turbines/56-nordex-n29 | 1 | 250 | 3 | 15 | 29.7 m | 3 | 50 | 25 | 247231602579 | 22500 |  | 0 | 0 | 0 | 82624.37
Nordtank NTK 150 | https://en.wind-turbine-models.com/turbines/166-nordtank-ntk-150 | 1 | 150 | 4 | 13.5 | 24.6 m | 3 | 32.5 | 25 | 247231152579 | 13500 |  | 0 | 0 | 0 | 99734.54
Nordtank NTK 200 | https://en.wind-turbine-models.com/turbines/1355-nordtank-ntk-200 | 1 | 200 | 4 | 12.5 | 28.0 m | 3 | 30 | 25 | 247231377579 | 18000 |  | 0 | 0 | 0 | 66525.62
NPS Northern Power NPS 60-24 | https://en.wind-turbine-models.com/turbines/1270-nps-northern-power-nps-60-24 | 1 | 60 | 3 | 11 | 24.4 m | 3 | 37 | 25 | 247230747579 | 5400 |  | 0 | 0 | 0 | 171191.24
NPS Northern Power NPS 100C-24 | https://en.wind-turbine-models.com/turbines/365-nps-northern-power-nps-100c-24 | 1 | 100 | 3 | 12 | 24.4 m | 3 | 37 | 25 | 247230927579 | 9000 |  | 0 | 0 | 0 | 119385.19
Norwin 24 STALL 150 | https://en.wind-turbine-models.com/turbines/225-norwin-24-stall-150 | 1 | 150 | 4 | 14 | 24.0 m |  | 30 | 25 | 247231152579 | 13500 |  | 0 | 0 | 0 | 118389.62
Norwin 29 STALL 225 | https://en.wind-turbine-models.com/turbines/226-norwin-29-stall-225 | 1 | 225 | 4 | 14 | 29.1 m | 3 | 40 | 25 | 247231490079 | 20250 |  | 0 | 0 | 0 | 115705.83
Ropatec 3kW | https://en.wind-turbine-models.com/turbines/2422-ropatec-3kw | 1 | 3 | 4 | 13 | 3.3 m | 3 | 10.9 | 17 | 247230491079 | 270 |  | 0 | 0 | 0 | 6635370.64
Siva 250/50 | https://en.wind-turbine-models.com/turbines/477-siva-250-50 | 1 | 250 | 4 | 14 | 30.0 m | 3 | 48.4 | 25 | 247231602579 | 22500 |  | 0 | 0 | 0 | 66366.91
Tacke TW 45 | https://en.wind-turbine-models.com/turbines/1398-tacke-tw-45 | 1 | 45 | 3 | 12.5 | 12.5 m | 3 | 24 | 20 | 247230680079 | 4050 |  | 0 | 0 | 0 | 332840.14
Tacke TW 80 | https://en.wind-turbine-models.com/turbines/263-tacke-tw-80 | 1 | 80 | 3 | 11.5 | 21.0 m | 3 | 40 | 25 | 247230837579 | 7200 |  | 0 | 0 | 0 | 169507.79
Tellus T-1780 | https://en.wind-turbine-models.com/turbines/673-tellus-t-1780 | 1 | 80 | 3 | 14 | 17.0 m | 3 | 40.8 | 28 | 247230837579 | 7200 |  | 0 | 0 | 0 | 167964.01
Wind Turbine Company WTC 100 | https://en.wind-turbine-models.com/turbines/2134-wind-turbine-company-wtc-100 | 1 | 100 | 2.5 | 11 | 26.0 m | 2 | 50 | 20 | 247230927579 | 9000 |  | 0 | 0 | 0 | 108504.21
TUGE 10 kW | https://en.wind-turbine-models.com/turbines/1636-tuge-10-kw | 1 | 10 | 3 | 11 | 10.2 m | 3 | 22 | 25 | 247230522579 | 900 |  | 0 | 0 | 0 | 1463442.42
Venturicon 3.ZERO | https://en.wind-turbine-models.com/turbines/1921-venturicon-3.zero | 1 | 3.2 | 3 | 18 | 1.3 m | 5 | 4 | 25 | 247230491979 | 288 |  | 0 | 0 | 0 | 13270347.9
Vergnet GEV MP C 200/30 | https://en.wind-turbine-models.com/turbines/2007-vergnet-gev-mp-c-200-30 | 1 | 200 | 3.5 | 12 | 30.0 m | 2 | 60 | 25 | 247231377579 | 18000 |  | 0 | 0 | 0 | 67326.31
Vergnet GEV MP C 200/32 | https://en.wind-turbine-models.com/turbines/2004-vergnet-gev-mp-c-200-32 | 1 | 200 | 3.5 |  | 32.0 m | 2 | 60 | 25 | 247231377579 | 18000 |  | 0 | 0 | 0 | 61657.84
Vestas V29 | https://en.wind-turbine-models.com/turbines/273-vestas-v29 | 1 | 225 | 3.5 | 14 | 29.0 m | 3 | 51 | 25 | 247231490079 | 20250 |  | 0 | 0 | 0 | 70859.85
WESPA 200/29 | https://en.wind-turbine-models.com/turbines/1549-wespa-200-29 | 1 | 200 | 4 | 14 | 29.8 m | 3 | 50 | 25 | 247231377579 | 18000 |  | 0 | 0 | 0 | 83805.32
WESPA 200/31 | https://en.wind-turbine-models.com/turbines/1550-wespa-200-31 | 1 | 200 | 4 | 13.5 | 31.0 m | 3 | 50 | 25 | 247231377579 | 18000 |  | 0 | 0 | 0 | 74083.34
Wind World W2700 | https://en.wind-turbine-models.com/turbines/238-wind-world-w2700 | 1 | 150 | 2 | 11 | 27.0 m | 3 | 41 | 25 | 247231152579 | 13500 |  | 0 | 0 | 0 | 81744.29
Windspot 7.5Kw | https://en.wind-turbine-models.com/turbines/1372-windspot-7.5kw | 1 | 7.5 | 3 | 12 | 6.3 m | 3 | 18 | 20 | 247230511329 | 675 |  | 0 | 0 | 0 | 1540045.88
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0
[13 empty] | 0 | 0 | 0